Attachment № 2 to the invitation

SAMPLE OFFER

for participation in tender with subject:

| Name of the participant: |  |
| --- | --- |
| Legal and organizational form of the participant: | (company or associations or other legal form) |
| Registered office: |  |
| Trade registry number: |  |
| Exact correspondence address: | (country, city, postal code, street, №) |
| Phone number: |  |
| Fax number: |  |
| Email address: |  |
| Contact person: |  |
| Bank, BIC and IBAN of the account |  |

Framework contract for the supply of spare parts for the maintenance of the airfield ground lighting system (AGL) at Sofia Airport

DEAR ALL,

1. We hereby declare our desire to participate in the procedure announced by you for awarding an order with the subject "Framework contract for the supply of spare parts for the maintenance of the airfield ground lighting system (AGL) at Sofia Airport".

2. We are familiar with the conditions and requirements of the Contracting Authority specified in the invitation and its annexes.

3. We fully accept, without reservations or restrictions, all the conditions of this order and undertake to comply with them in the event that the same is assigned to us.

4. Deadline for execution - …………………… calendar days from the date of submission of a written request by the Contracting Authority for the delivery of a given spare part from the list of spare parts specified in the Terms of Reference (at the proposal of the participant, but no more than 90 calendar days from the submission of the written request).

Note: The contracting authority may, within the term of the contract and within the estimated value, assign the delivery of other parts that are not included in the list of spare parts specified in the Terms of Reference, but are intended for the Lighting System. In this case, the Contractor offers a price for it, as well as a deadline for its delivery, and the Contracting Authority, for its part, conducts a study of market conditions, by collecting offers, researching on the Internet, store network, etc. When the price and delivery time satisfy the Contacting Authority, assigns the Contractor the delivery of the new part or parts. The assignment of delivery of parts subject to this option is carried out by signing an additional agreement to the contract.

5. The validity period of this offer is 90 calendar days from the date of receipt of the offer.

6. By submitting this application for participation, we agree to the conduct of any studies that "SOF Connect" AD deems necessary, regarding the qualifications of the Participant and the submitted evidence of eligibility.

7. We are aware of and agree that all personal data contained in the provided evidence or during their verification will be processed by "SOF Connect" AD in accordance with the applicable regulations.

8. For the performance of the activities, we will not use/will use (cross out the incorrect) the following subcontractors:………………………………….

| Subcontractor | Types of work it will perform | Percentage share (%) |
| --- | --- | --- |

In connection with the above, we attach a written consent (declaration/s) from the specified subcontractors for their participation, as well as the documents required for them, including the declaration of eligibility and the declaration of the absence of grounds for exclusion under Art. 60 of the Concessions Act.

We attach the following evidence of eligibility:

1. Declaration of eligibility;

2. Declaration of the lack of grounds for exclusion under Art. 60 of the Concessions Act;

3. Other documents, according to the requirements of the invitation and the technical specification:

………………………………………………………………………………………………………..

Date .................. / ................ / ........

Name and surname.............................................

Position ..............................................

Name of the participant ...................................

Signature …………………………… ..

Attachment № 3 to the invitation

TO

SOF Connect AD

Christopher Columbus Blvd. 1

Sofia 1540

SAMPLE PRICE OFFER

DEAR ALL,

After getting acquainted with the conditions set by you for the implementation of the procurement contract announced by you with the subject “Framework contract for the supply of spare parts for the maintenance of the airfield ground lighting system (AGL) at Sofia Airport”

.................................................. .................................................. ......................................

/ the name of the participant is written /

With a management address: ……………………………………………………………….

and Trade Registry Number ................................................ ....,

A. We offer to perform the order under the following financial conditions:

| № | Name | Price in EUR w/o VAT |
| --- | --- | --- |
| 1. | Lighting fixture (halogen) IDM 2051-C-O 3x105W |  |
| 2. | Lighting fixture (halogen) IDM 5562 C 2x40W- G/Y |  |
| 3. | Lighting fixture (halogen) IDM 5562 N 2x40W- G/G |  |
| 4. | Осветително тяло (халогенно) IDM 5751 N 40W- Y |  |
| 5. | IDM 5552 Prism, straight, narrow, marking ”CL” Code 09-448041 |  |
| 6. | IDM 5552 Prism, curved, left, marking ”I” Code 09-448021 |  |
| 7. | IDM 5552 Prism, curved, right, marking ”II” Code 09-448022 |  |
| 8. | IDM 5552 S Prism, straight , marking ”S” Code 09-448010 |  |
| 9. | IDM 5552 Gasket for prisms Code 08-348011 |  |
| 10. | IDM 5552 Colour filter yellow Code 09-6Y48019 |  |
| 11. | IDM 5552 Colour filter green Code 09-6G48019 |  |
| 12. | IDM 5552 Colour filter red Code 09-6R48019 |  |
| 13. | IDM 2051 Prism clear, Code 09-448134 |  |
| 14. | IDM 4351 Prism green Code 09-4 G48134 |  |
| 15. | IDM 4361 Prism red Code 09-4 R48134 |  |
| 16. | IDM 4062 Prism yellow Code 09-4 Y48134 |  |
| 17. | IDM 2051 Gasket for prisms Code 08-348135 |  |
| 18. | IDM 5848 Outer bowl Code 09-34336 |  |
| 19. | IDM 5848 Gasket Code 08-32171 |  |
| 20. | IDM 5848 Inner bowl clear 360degree Code 09-34360 |  |
| 21. | IDM 5848 Inner bowl 180degree Right red Code 09-34443 R |  |
| 22. | IDM 5848 Inner bowl 180degree Left red Code 09-34435 R |  |
| 23. | IDM 5848 Inner bowl 180degree Right yellow Code 09-34386 Y |  |
| 24. | IDM 5848 Inner bowl 180degree Left yellow Code 09-34378 Y |  |
| 25. | IDM 5848 Inner bowl 180degree Right Code 09-34352 C |  |
| 26. | IDM 5848 Inner bowl 180degree Left Code 09-34344 C |  |
| 27. | IDM 2982 Front glass D162 Code 09-22166 |  |
| 28. | IDM 2982 Gasket Code 08-32676 |  |
| 29. | IDM 2982 Front glass green Code 09-22170 |  |
| 30. | IDM 2982 Front glass red Code 09-22175 |  |
| 31. | IDM 2982 Gasket Code 08-338072 |  |
| 32. | Terminal strip, 2-pole, 10A, Ceramic |  |
| 33. | Terminal pin Ø4 |  |
| 34. | Mechanical frangible coupling |  |
| 35. | Base plate IDMAN 5838 |  |
| 36. | O-ring gasket 126,6x3,53 |  |
| 37. | O-ring gasket 160x3 |  |
| 38. | Connectors for secondary cable, male – KD501.2 (plug) |  |
| 39. | Connectors for secondary cable, female – KD503R.1 (receptacle) |  |
| 40. | Primary cable connectors, set – KD500.6 |  |
| 41. | Secondary cable for lighting fixture, male, two-wire, 2x1,5mm2 |  |
| 42. | Halogen lamp , Ø35mm, 6.6А, 40W ( type 64333 В) |  |
| 43. | Halogen lamp , 6.6А, 45W ( type 64319 Z) |  |
| 44. | Halogen lamp , 6.6А, 100W ( type 64342 HLX) |  |
| 45. | Halogen lamp , Ø50mm, 6.6А, 105W ( type 64339В) |  |
| 46. | Halogen lamp , 6.6А, 150W ( type 64361 HLX Z) |  |
| 47. | Halogen lamp , 6.6А, 200W ( type 64382 HLX C) |  |
| 48. | Cable gland GLAND AGRO M6 |  |
| 49. | Valve assembly VALVE ASSEMBLY М6 |  |
| 50. | LMS Single, with one FAA- STYLE7 connector, 300W, 2,5÷6,6A, 50/60Hz |  |
| 51. | LMS Dual, with two FAA- STYLE7 connectors, 2x300W, 2,5÷6,6A, 50/60Hz |  |
| 52. | Isolating transformer 300W, 5000V, 6,6/6,6A, 50/60Hz |  |
| 53. | Isolating transformer 200W, 5000V, 6,6/6,6A, 50/60Hz |  |
| 54. | Isolating transformer 150W, 5000V, 6,6/6,6A, 50/60Hz |  |
| 55. | Isolating transformer , 100W, 5000V, 6,6/6,6A, 50/60Hz |  |
| 56. | Isolating transformer , 65W, 5000V, 6,6/6,6A, 50/60Hz |  |
| 57. | Isolating transformer , 45W, 5000V, 6,6/6,6A, 50/60Hz |  |
| 58. | IDM 5196 - body PAPI, set |  |
| 59. | LED light for warning lights for taxiway exit, one-way, yellow, built-in, with all necessary elements, type: SL-IQ1-RX-I-8-U-S-S-Y-1C |  |
| 60. | IDM 2982 С 150 W Approach centre line |  |
| 61. | IDM 2982 R 45 W Stop bar |  |
| 62. | IDM 2982 G 150 W Threshold |  |
|  |  | Total…………. |

B. Warranties

1. We wish to receive an Advance payment in the amount of: ............% (in words:..................... ............................................ ...)- up to 50% (fifty percent) of the value of each request for the supply of spare parts including VAT (if applicable).

In case of acceptance of our offer, we agree to submit a guarantee for the security of the advance payment.

Note: If the participant has not filled in item 1, it is assumed that he does not want an advance payment.

Date .................. / ................ / ........

Name and surname.............................................

Position ..............................................

Name of the participant ...................................

Signature …………………………… ..